Assembling over wall plain:

Wall thickness 320mm max.

Wall plain

Shielded tube 300-500mm

Metal plate

Cable gland

Round cable

Hole

25mm

Adaptor

Cable gland Pm9

Shielding

Cover plate

Cover plate

Fastener screws

Fastener screws